## Slide 1: Sheep 7 Round 3
Lock-in frequencies:
  850nm – 690Hz
Duty-cycle: 50%
Drive current:
  850nm LED @ 500mA current
  700mW peak optical power
High Passed data at 0.2Hz
Down sampled to 80hz
IQ demodulated from 690Hz
 | CH1 | CH2 | CH3 | CH4 | CH5
ADC PGA Gain | 1x | 8x | 8x | 2x | 2x

## Slide 2
Round 3 starting 16:06:06 extracted 7-8 minutes Det 1&4
MHR
MHR
MHR
MHR
FHR
FHR
FHR

## Slide 3
Kourosh told me the fetal signal is mix with the harmonic terms of the respiration signal
1.43
*
2.86
*
~2.86
*
*: Mom signal