## Slide 1: Sheep 8 part 3
Lock-in frequencies:
  850nm – 690Hz
Duty-cycle: 50%
Drive current:
  850nm – 300mA
  420mW peak optical power
FSaO2 started at ~14% and dropped to ~10%.
No contractions observed.
High Passed data at 0.2Hz
Down sampled to 80hz
IQ demodulated from 690Hz
 | CH1 | CH2 | CH3 | CH4 | CH5
PGA Gain | 2x | 4x | 8x | 4x | 4x

## Slide 2
Part 3 starting 3:17:36PM extracted 6-7 minutes Det 1&4
MHR
MHR
MHR
MHR
FHR
FHR
MHR
FHR

## Slide 3
1.78
*
1.78
*
2.65
*
3.56
*
*: Mom signal